## groups
id | name | site | description | created_at
1 | Demo DC Row A | Demo DC | demo row | 2026-09-23T23:28:05.575152+00:00

## racks
id | name | site | group | group_position | room | height_u | width | device_count | used_u | free_u | power_w | weight_kg | description | notes | created_at
1 | Demo DC Rack — Cabling | Demo DC | Demo DC Row A | 0 |  | 42 | 19 | 36 | 42 | 0 | 8399 | 239.05 | V4A cabling demo — carriers, patch panels, L1 traces |  | 2026-09-23T23:28:05.707404+00:00
2 | Demo DC Rack — Compute | Demo DC | Demo DC Row A | 1 |  | 42 | 19 | 32 | 42 | 0 | 8750 | 225.61 | dense compute row-end — ToR + OOB through pp-c |  | 2026-09-23T23:36:57.567816+00:00
3 | Demo DC Rack — Edge / MDA | Demo DC | Demo DC Row A | 2 |  | 42 | 19 | 28 | 42 | 0 | 1324 | 77.37 | aggregation + LC fiber MDA — cross-rack cross-connects |  | 2026-09-23T23:36:58.147337+00:00

## devices
id | name | device_type | manufacturer | model | category | serial_number | mac_address | site | rack | rack_group | u_position | u_height | face | carrier | slot | slot_layout | watts | weight_kg | ips | ip_count | interface_count | cabled_count | source | notes | created_at
229 | ups-01 | eaton-9px3000irt2u | Eaton | 9PX3000iRT2U | power |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 1 | 2 | front |  |  |  | 3000 | 28 |  | 0 | 5 | 5 | rackula | feeds the whole rack | 2026-09-23T23:37:26.334924+00:00
230 | pdu-a | apc-ap4423a | APC | AP4423A ATS | power |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 1 | 1 | rear |  |  |  |  | 3.74 |  | 0 | 10 | 10 | rackula | A feed | 2026-09-23T23:37:26.334924+00:00
231 | pdu-b | apc-ap4423a | APC | AP4423A ATS | power |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 2 | 1 | rear |  |  |  |  | 3.74 |  | 0 | 10 | 10 | rackula | B feed | 2026-09-23T23:37:26.334924+00:00
232 | blank-u3 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 3 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
233 | blank-u4 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 4 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
234 | brush-u5 | brush-1u | Generic | 1U Brush Strip | cable-management |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 5 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
235 | srv-esxi-01 | dell-poweredge-r750 | Dell | PowerEdge R750 | server |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 6 | 2 | front |  |  |  | 750 | 27.7 | 10.200.0.11 | 1 | 6 | 6 | rackula | vSphere host 1 | 2026-09-23T23:37:26.334924+00:00
236 | srv-esxi-02 | dell-poweredge-r750 | Dell | PowerEdge R750 | server |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 8 | 2 | front |  |  |  | 750 | 27.7 | 10.200.0.12 | 1 | 6 | 6 | rackula | vSphere host 2 | 2026-09-23T23:37:26.334924+00:00
237 | srv-backup-01 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 10 | 1 | front |  |  |  | 600 | 21 | 10.200.0.13 | 1 | 6 | 5 | rackula | backup target | 2026-09-23T23:37:26.334924+00:00
238 | san-01 | dell-powervault-me4024 | Dell | PowerVault ME4024 | storage |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 11 | 2 | front |  |  |  | 580 | 24 | 10.200.0.16 | 1 | 6 | 6 | rackula | iSCSI SAN | 2026-09-23T23:37:26.334924+00:00
239 | blank-u13 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 13 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
240 | tray-edge-01 | carrier-dual | Generic | 1U Half-Width Dual Shelf | chassis |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 14 | 1 | front |  |  | halves |  |  |  | 0 | 0 | 0 | rackula | half-width pair | 2026-09-23T23:37:26.334924+00:00
263 | edge-sdwan-a | edge-node-half | Generic | Half-Width Edge Appliance | network |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 14 | 1 | front | tray-edge-01 | 0 |  | 45 | 2.2 | 10.200.0.21 | 1 | 5 | 1 | rackula |  | 2026-09-23T23:37:26.334924+00:00
264 | edge-sdwan-b | edge-node-half | Generic | Half-Width Edge Appliance | network |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 14 | 1 | front | tray-edge-01 | 1 |  | 45 | 2.2 | 10.200.0.22 | 1 | 5 | 1 | rackula |  | 2026-09-23T23:37:26.334924+00:00
241 | pp-a-24 | generic-24-port-copper-patch-panel | Generic | 24-port Copper Patch Panel | patch-panel |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 15 | 1 | front |  |  |  |  | 0.9 |  | 0 | 48 | 22 | rackula | Cat6 → sw-access-01 | 2026-09-23T23:37:26.334924+00:00
242 | cm-bar-15 | generic-cable-management-panel-1u | Generic | Cable Management Panel 1U | cable-management |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 15 | 1 | rear | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
243 | pp-b-24 | generic-24-port-copper-patch-panel-half-depth | Generic | 24-port Copper Patch Panel Half Depth | patch-panel |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 16 | 1 | front |  |  |  |  | 0.7 |  | 0 | 48 | 10 | rackula | Cat6A → sw-access-02 | 2026-09-23T23:37:26.334924+00:00
244 | cm-bar-16 | generic-cable-management-panel-1u | Generic | Cable Management Panel 1U | cable-management |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 16 | 1 | rear | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
245 | brush-u17 | brush-1u | Generic | 1U Brush Strip | cable-management |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 17 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
246 | sw-access-01 | cisco-c9300-48p | Cisco | Catalyst 9300-48P | network |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 18 | 1 | front |  |  |  | 350 | 7.59 | 10.200.0.2 | 1 | 55 | 18 | rackula | access A | 2026-09-23T23:37:26.334924+00:00
247 | sw-access-02 | cisco-c9300-48p | Cisco | Catalyst 9300-48P | network |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 19 | 1 | front |  |  |  | 350 | 7.59 | 10.200.0.3 | 1 | 55 | 11 | rackula | access B | 2026-09-23T23:37:26.334924+00:00
248 | sw-mgmt-01 | cisco-c9300-24t | Cisco | Catalyst 9300-24T | network |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 20 | 1 | front |  |  |  | 120 | 7.4 | 10.200.0.4 | 1 | 30 | 11 | rackula | OOB management | 2026-09-23T23:37:26.334924+00:00
249 | fw-edge-01 | fortinet-fg-100f | Fortinet | FortiGate 100F | firewall |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 21 | 1 | front |  |  |  | 39 | 3 | 10.200.0.5 | 1 | 10 | 6 | rackula | edge firewall | 2026-09-23T23:37:26.334924+00:00
250 | rtr-wan-01 | cisco-asr-9001 | Cisco | ASR 9001 | network |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 22 | 2 | front |  |  |  | 480 | 16.5 | 10.200.0.1 | 1 | 11 | 3 | rackula | WAN edge router | 2026-09-23T23:37:26.334924+00:00
251 | kvm-01 | kvm-console | Generic | 1U LCD Console | kvm |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 24 | 1 | front |  |  |  | 60 | 4 | 10.200.0.25 | 1 | 2 | 1 | rackula |  | 2026-09-23T23:37:26.334924+00:00
252 | con-srv-01 | eaton-tripp-lite-b096-016 | Eaton | Tripp Lite B096-016 Console Server | network |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 25 | 1 | front |  |  |  | 30 | 4.99 | 10.200.0.26 | 1 | 18 | 8 | rackula | serial console | 2026-09-23T23:37:26.334924+00:00
253 | shelf-u26 | shelf-1u | Generic | 1U Cantilever Shelf | shelf |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 26 | 1 | front |  |  |  |  | 2 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
254 | srv-app-01 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 27 | 1 | front |  |  |  | 600 | 21 | 10.200.0.14 | 1 | 6 | 5 | rackula | app node | 2026-09-23T23:37:26.334924+00:00
255 | srv-app-02 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 28 | 1 | front |  |  |  | 600 | 21 | 10.200.0.15 | 1 | 6 | 5 | rackula | app node | 2026-09-23T23:37:26.334924+00:00
256 | blank-u29-30 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 29 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
257 | blank-u31-32 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 31 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
258 | blank-u33-34 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 33 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
259 | blank-u35-36 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 35 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
260 | blank-u37-38 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 37 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
261 | blank-u39-40 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 39 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
262 | blank-u41-42 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Cabling | Demo DC Row A | 41 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:26.334924+00:00
265 | ups-b1 | apc-smt1500rmi2uc | APC | SMT1500RMI2UC | power |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 1 | 2 | front |  |  |  | 3600 | 38.24 |  | 0 | 5 | 4 | rackula | row UPS B | 2026-09-23T23:37:31.056610+00:00
266 | pdu-c1 | apc-ap4423a | APC | AP4423A ATS | power |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 1 | 1 | rear |  |  |  |  | 3.74 |  | 0 | 10 | 9 | rackula | C feed | 2026-09-23T23:37:31.056610+00:00
267 | pdu-c2 | apc-ap4423a | APC | AP4423A ATS | power |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 2 | 1 | rear |  |  |  |  | 3.74 |  | 0 | 10 | 9 | rackula | D feed | 2026-09-23T23:37:31.056610+00:00
268 | blank-b3 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 3 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
269 | blank-b4 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 4 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
270 | brush-b5 | brush-1u | Generic | 1U Brush Strip | cable-management |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 5 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
271 | srv-compute-01 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 6 | 1 | front |  |  |  | 600 | 21 | 10.200.0.31 | 1 | 6 | 4 | rackula | k8s node | 2026-09-23T23:37:31.056610+00:00
272 | srv-compute-02 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 7 | 1 | front |  |  |  | 600 | 21 | 10.200.0.32 | 1 | 6 | 4 | rackula | k8s node | 2026-09-23T23:37:31.056610+00:00
273 | srv-compute-03 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 8 | 1 | front |  |  |  | 600 | 21 | 10.200.0.33 | 1 | 6 | 4 | rackula | k8s node | 2026-09-23T23:37:31.056610+00:00
274 | srv-compute-04 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 9 | 1 | front |  |  |  | 600 | 21 | 10.200.0.34 | 1 | 6 | 4 | rackula | k8s node | 2026-09-23T23:37:31.056610+00:00
275 | srv-compute-05 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 10 | 1 | front |  |  |  | 600 | 21 | 10.200.0.35 | 1 | 6 | 4 | rackula | k8s node | 2026-09-23T23:37:31.056610+00:00
276 | srv-compute-06 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 11 | 1 | front |  |  |  | 600 | 21 | 10.200.0.36 | 1 | 6 | 4 | rackula | k8s node | 2026-09-23T23:37:31.056610+00:00
277 | srv-compute-07 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 12 | 1 | front |  |  |  | 600 | 21 | 10.200.0.37 | 1 | 6 | 4 | rackula | k8s node | 2026-09-23T23:37:31.056610+00:00
278 | srv-compute-08 | dell-poweredge-r650 | Dell | PowerEdge R650 | server |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 13 | 1 | front |  |  |  | 600 | 21 | 10.200.0.38 | 1 | 6 | 4 | rackula | k8s node | 2026-09-23T23:37:31.056610+00:00
279 | blank-b14 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 14 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
280 | pp-c-24 | generic-24-port-copper-patch-panel-half-depth | Generic | 24-port Copper Patch Panel Half Depth | patch-panel |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 15 | 1 | front |  |  |  |  | 0.7 |  | 0 | 48 | 32 | rackula | Cat6 → tor-b-01 | 2026-09-23T23:37:31.056610+00:00
281 | cm-bar-b15 | generic-cable-management-panel-1u | Generic | Cable Management Panel 1U | cable-management |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 15 | 1 | rear | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
282 | brush-b16 | brush-1u | Generic | 1U Brush Strip | cable-management |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 16 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
283 | tor-b-01 | cisco-c9300-48p | Cisco | Catalyst 9300-48P | network |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 17 | 1 | front |  |  |  | 350 | 7.59 | 10.200.0.41 | 1 | 55 | 21 | rackula | top-of-rack | 2026-09-23T23:37:31.056610+00:00
284 | blank-b18-19 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 18 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
285 | blank-b20-21 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 20 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
286 | blank-b22-23 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 22 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
287 | blank-b24-25 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 24 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
288 | blank-b26-27 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 26 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
289 | blank-b28-29 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 28 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
290 | blank-b30-31 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 30 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
291 | blank-b32-33 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 32 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
292 | blank-b34-35 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 34 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
293 | blank-b36-37 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 36 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
294 | blank-b38-39 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 38 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
295 | blank-b40-41 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 40 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
296 | blank-b42 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Compute | Demo DC Row A | 42 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:31.056610+00:00
297 | ups-c1 | apc-smt2200rm2u | APC | SMT2200RM2U | power |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 1 | 2 | front |  |  |  |  | 42.3 |  | 0 | 5 | 2 | rackula | edge UPS | 2026-09-23T23:37:34.374802+00:00
298 | pdu-d1 | apc-ap4423a | APC | AP4423A ATS | power |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 1 | 1 | rear |  |  |  |  | 3.74 |  | 0 | 10 | 4 | rackula | E feed | 2026-09-23T23:37:34.374802+00:00
299 | pdu-d2 | apc-ap4423a | APC | AP4423A ATS | power |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 2 | 1 | rear |  |  |  |  | 3.74 |  | 0 | 10 | 3 | rackula | F feed | 2026-09-23T23:37:34.374802+00:00
300 | blank-c3 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 3 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
301 | blank-c4 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 4 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
302 | blank-c5 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 5 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
303 | con-srv-02 | eaton-tripp-lite-b096-016 | Eaton | Tripp Lite B096-016 Console Server | network |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 6 | 1 | front |  |  |  | 30 | 4.99 | 10.200.0.44 | 1 | 18 | 5 | rackula | serial console — row | 2026-09-23T23:37:34.374802+00:00
304 | mda-01 | generic-lc-24-port-fiber-patch-panel | Generic | LC-24-port Fiber Patch Panel | patch-panel |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 7 | 1 | front | [6 empty] | 0 | 48 | 8 | rackula | MDA — cross-rack LC fiber | 2026-09-23T23:37:34.374802+00:00
305 | cm-bar-c7 | generic-cable-management-panel-1u | Generic | Cable Management Panel 1U | cable-management |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 7 | 1 | rear | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
306 | blank-c8 | blank-1u | Generic | 1U Blank | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 8 | 1 | front | [6 empty] | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
307 | spine-01 | dell-powerswitch-s5248f-on | Dell | PowerSwitch S5248F-ON | network |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 9 | 1 | front |  |  |  | 647 | 8.9 | 10.200.0.42 | 1 | 56 | 6 | rackula | aggregation A | 2026-09-23T23:37:34.374802+00:00
308 | spine-02 | dell-powerswitch-s5248f-on | Dell | PowerSwitch S5248F-ON | network |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 10 | 1 | front |  |  |  | 647 | 8.9 | 10.200.0.43 | 1 | 56 | 5 | rackula | aggregation B | 2026-09-23T23:37:34.374802+00:00
309 | blank-c11-12 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 11 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
310 | blank-c13-14 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 13 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
311 | blank-c15-16 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 15 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
312 | blank-c17-18 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 17 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
313 | blank-c19-20 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 19 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
314 | blank-c21-22 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 21 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
315 | blank-c23-24 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 23 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
316 | blank-c25-26 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 25 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
317 | blank-c27-28 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 27 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
318 | blank-c29-30 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 29 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
319 | blank-c31-32 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 31 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
320 | blank-c33-34 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 33 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
321 | blank-c35-36 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 35 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
322 | blank-c37-38 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 37 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
323 | blank-c39-40 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 39 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00
324 | blank-c41-42 | generic-blanking-panel-2u | Generic | Blanking Panel 2U | blank |  |  |  | Demo DC Rack — Edge / MDA | Demo DC Row A | 41 | 2 | front |  |  |  |  | 0.3 |  | 0 | 0 | 0 | rackula |  | 2026-09-23T23:37:34.374802+00:00

## interfaces
device | name | kind | speed_mbps | mac_address | connected_ip
ups-01 | out1 | power
ups-01 | net1 | rj45
ups-01 | out2 | power
ups-01 | out3 | power
ups-01 | out4 | power
pdu-a | o1 | power
pdu-a | in1 | power
pdu-a | net1 | rj45
pdu-a | o2 | power
pdu-a | o3 | power
pdu-a | o4 | power
pdu-a | o5 | power
pdu-a | o6 | power
pdu-a | o7 | power
pdu-a | o8 | power
pdu-b | o1 | power
pdu-b | in1 | power
pdu-b | net1 | rj45
pdu-b | o2 | power
pdu-b | o3 | power
pdu-b | o4 | power
pdu-b | o5 | power
pdu-b | o6 | power
pdu-b | o7 | power
pdu-b | o8 | power
srv-esxi-01 | eno1 | rj45 | 10000 |  | 10.200.0.11
srv-esxi-01 | idrac1 | rj45
srv-esxi-01 | serial1 | console
srv-esxi-01 | psu1 | power
srv-esxi-01 | eno2 | rj45 | 10000
srv-esxi-01 | psu2 | power
srv-esxi-02 | eno1 | rj45 | 10000 |  | 10.200.0.12
srv-esxi-02 | idrac1 | rj45
srv-esxi-02 | serial1 | console
srv-esxi-02 | psu1 | power
srv-esxi-02 | eno2 | rj45 | 10000
srv-esxi-02 | psu2 | power
srv-backup-01 | eno1 | rj45 | 10000
srv-backup-01 | idrac1 | rj45
srv-backup-01 | serial1 | console
srv-backup-01 | psu1 | power
srv-backup-01 | eno2 | rj45 | 10000
srv-backup-01 | psu2 | power
san-01 | mgmt0 | rj45
san-01 | mgmt1 | rj45
san-01 | iscsi1 | sfp28 | 25000
san-01 | psu1 | power
san-01 | iscsi2 | sfp28 | 25000
san-01 | psu2 | power
pp-a-24 | p1 | patch
pp-a-24 | b1 | patch
pp-a-24 | p2 | patch
pp-a-24 | b2 | patch
pp-a-24 | p3 | patch
pp-a-24 | b3 | patch
pp-a-24 | p4 | patch
pp-a-24 | b4 | patch
pp-a-24 | p5 | patch
pp-a-24 | b5 | patch
pp-a-24 | p6 | patch
pp-a-24 | b6 | patch
pp-a-24 | p7 | patch
pp-a-24 | b7 | patch
pp-a-24 | p8 | patch
pp-a-24 | b8 | patch
pp-a-24 | p9 | patch
pp-a-24 | b9 | patch
pp-a-24 | p10 | patch
pp-a-24 | b10 | patch
pp-a-24 | p11 | patch
pp-a-24 | b11 | patch
pp-a-24 | p12 | patch
pp-a-24 | b12 | patch
pp-a-24 | p13 | patch
pp-a-24 | b13 | patch
pp-a-24 | p14 | patch
pp-a-24 | b14 | patch
pp-a-24 | p15 | patch
pp-a-24 | b15 | patch
pp-a-24 | p16 | patch
pp-a-24 | b16 | patch
pp-a-24 | p17 | patch
pp-a-24 | b17 | patch
pp-a-24 | p18 | patch
pp-a-24 | b18 | patch
pp-a-24 | p19 | patch
pp-a-24 | b19 | patch
pp-a-24 | p20 | patch
pp-a-24 | b20 | patch
pp-a-24 | p21 | patch
pp-a-24 | b21 | patch
pp-a-24 | p22 | patch
pp-a-24 | b22 | patch
pp-a-24 | p23 | patch
pp-a-24 | b23 | patch
pp-a-24 | p24 | patch
pp-a-24 | b24 | patch
pp-b-24 | p1 | patch
pp-b-24 | b1 | patch
pp-b-24 | p2 | patch
pp-b-24 | b2 | patch
pp-b-24 | p3 | patch
pp-b-24 | b3 | patch
pp-b-24 | p4 | patch
pp-b-24 | b4 | patch
pp-b-24 | p5 | patch
pp-b-24 | b5 | patch
pp-b-24 | p6 | patch
pp-b-24 | b6 | patch
pp-b-24 | p7 | patch
pp-b-24 | b7 | patch
pp-b-24 | p8 | patch
pp-b-24 | b8 | patch
pp-b-24 | p9 | patch
pp-b-24 | b9 | patch
pp-b-24 | p10 | patch
pp-b-24 | b10 | patch
pp-b-24 | p11 | patch
pp-b-24 | b11 | patch
pp-b-24 | p12 | patch
pp-b-24 | b12 | patch
pp-b-24 | p13 | patch
pp-b-24 | b13 | patch
pp-b-24 | p14 | patch
pp-b-24 | b14 | patch
pp-b-24 | p15 | patch
pp-b-24 | b15 | patch
pp-b-24 | p16 | patch
pp-b-24 | b16 | patch
pp-b-24 | p17 | patch
pp-b-24 | b17 | patch
pp-b-24 | p18 | patch
pp-b-24 | b18 | patch
pp-b-24 | p19 | patch
pp-b-24 | b19 | patch
pp-b-24 | p20 | patch
pp-b-24 | b20 | patch
pp-b-24 | p21 | patch
pp-b-24 | b21 | patch
pp-b-24 | p22 | patch
pp-b-24 | b22 | patch
pp-b-24 | p23 | patch
pp-b-24 | b23 | patch
pp-b-24 | p24 | patch
pp-b-24 | b24 | patch
sw-access-01 | con0 | console
sw-access-01 | Gi1/0/1 | rj45 | 1000
sw-access-01 | Te1/1/1 | sfp28 | 25000
sw-access-01 | psu1 | power
sw-access-01 | Gi1/0/2 | rj45 | 1000
sw-access-01 | Te1/1/2 | sfp28 | 25000
sw-access-01 | psu2 | power
sw-access-01 | Gi1/0/3 | rj45 | 1000
sw-access-01 | Te1/1/3 | sfp28 | 25000
sw-access-01 | Gi1/0/4 | rj45 | 1000
sw-access-01 | Te1/1/4 | sfp28 | 25000
sw-access-01 | Gi1/0/5 | rj45 | 1000
sw-access-01 | Gi1/0/6 | rj45 | 1000
sw-access-01 | Gi1/0/7 | rj45 | 1000
sw-access-01 | Gi1/0/8 | rj45 | 1000
sw-access-01 | Gi1/0/9 | rj45 | 1000
sw-access-01 | Gi1/0/10 | rj45 | 1000
sw-access-01 | Gi1/0/11 | rj45 | 1000
sw-access-01 | Gi1/0/12 | rj45 | 1000
sw-access-01 | Gi1/0/13 | rj45 | 1000
sw-access-01 | Gi1/0/14 | rj45 | 1000
sw-access-01 | Gi1/0/15 | rj45 | 1000
sw-access-01 | Gi1/0/16 | rj45 | 1000
sw-access-01 | Gi1/0/17 | rj45 | 1000
sw-access-01 | Gi1/0/18 | rj45 | 1000
sw-access-01 | Gi1/0/19 | rj45 | 1000
sw-access-01 | Gi1/0/20 | rj45 | 1000
sw-access-01 | Gi1/0/21 | rj45 | 1000
sw-access-01 | Gi1/0/22 | rj45 | 1000
sw-access-01 | Gi1/0/23 | rj45 | 1000
sw-access-01 | Gi1/0/24 | rj45 | 1000
sw-access-01 | Gi1/0/25 | rj45 | 1000
sw-access-01 | Gi1/0/26 | rj45 | 1000
sw-access-01 | Gi1/0/27 | rj45 | 1000
sw-access-01 | Gi1/0/28 | rj45 | 1000
sw-access-01 | Gi1/0/29 | rj45 | 1000
sw-access-01 | Gi1/0/30 | rj45 | 1000
sw-access-01 | Gi1/0/31 | rj45 | 1000
sw-access-01 | Gi1/0/32 | rj45 | 1000
sw-access-01 | Gi1/0/33 | rj45 | 1000
sw-access-01 | Gi1/0/34 | rj45 | 1000
sw-access-01 | Gi1/0/35 | rj45 | 1000
sw-access-01 | Gi1/0/36 | rj45 | 1000
sw-access-01 | Gi1/0/37 | rj45 | 1000
sw-access-01 | Gi1/0/38 | rj45 | 1000
sw-access-01 | Gi1/0/39 | rj45 | 1000
sw-access-01 | Gi1/0/40 | rj45 | 1000
sw-access-01 | Gi1/0/41 | rj45 | 1000
sw-access-01 | Gi1/0/42 | rj45 | 1000
sw-access-01 | Gi1/0/43 | rj45 | 1000
sw-access-01 | Gi1/0/44 | rj45 | 1000
sw-access-01 | Gi1/0/45 | rj45 | 1000
sw-access-01 | Gi1/0/46 | rj45 | 1000
sw-access-01 | Gi1/0/47 | rj45 | 1000
sw-access-01 | Gi1/0/48 | rj45 | 1000
sw-access-02 | con0 | console
sw-access-02 | Gi1/0/1 | rj45 | 1000
sw-access-02 | Te1/1/1 | sfp28 | 25000
sw-access-02 | psu1 | power
sw-access-02 | Gi1/0/2 | rj45 | 1000
sw-access-02 | Te1/1/2 | sfp28 | 25000
sw-access-02 | psu2 | power
sw-access-02 | Gi1/0/3 | rj45 | 1000
sw-access-02 | Te1/1/3 | sfp28 | 25000
sw-access-02 | Gi1/0/4 | rj45 | 1000
sw-access-02 | Te1/1/4 | sfp28 | 25000
sw-access-02 | Gi1/0/5 | rj45 | 1000
sw-access-02 | Gi1/0/6 | rj45 | 1000
sw-access-02 | Gi1/0/7 | rj45 | 1000
sw-access-02 | Gi1/0/8 | rj45 | 1000
sw-access-02 | Gi1/0/9 | rj45 | 1000
sw-access-02 | Gi1/0/10 | rj45 | 1000
sw-access-02 | Gi1/0/11 | rj45 | 1000
sw-access-02 | Gi1/0/12 | rj45 | 1000
sw-access-02 | Gi1/0/13 | rj45 | 1000
sw-access-02 | Gi1/0/14 | rj45 | 1000
sw-access-02 | Gi1/0/15 | rj45 | 1000
sw-access-02 | Gi1/0/16 | rj45 | 1000
sw-access-02 | Gi1/0/17 | rj45 | 1000
sw-access-02 | Gi1/0/18 | rj45 | 1000
sw-access-02 | Gi1/0/19 | rj45 | 1000
sw-access-02 | Gi1/0/20 | rj45 | 1000
sw-access-02 | Gi1/0/21 | rj45 | 1000
sw-access-02 | Gi1/0/22 | rj45 | 1000
sw-access-02 | Gi1/0/23 | rj45 | 1000
sw-access-02 | Gi1/0/24 | rj45 | 1000
sw-access-02 | Gi1/0/25 | rj45 | 1000
sw-access-02 | Gi1/0/26 | rj45 | 1000
sw-access-02 | Gi1/0/27 | rj45 | 1000
sw-access-02 | Gi1/0/28 | rj45 | 1000
sw-access-02 | Gi1/0/29 | rj45 | 1000
sw-access-02 | Gi1/0/30 | rj45 | 1000
sw-access-02 | Gi1/0/31 | rj45 | 1000
sw-access-02 | Gi1/0/32 | rj45 | 1000
sw-access-02 | Gi1/0/33 | rj45 | 1000
sw-access-02 | Gi1/0/34 | rj45 | 1000
sw-access-02 | Gi1/0/35 | rj45 | 1000
sw-access-02 | Gi1/0/36 | rj45 | 1000
sw-access-02 | Gi1/0/37 | rj45 | 1000
sw-access-02 | Gi1/0/38 | rj45 | 1000
sw-access-02 | Gi1/0/39 | rj45 | 1000
sw-access-02 | Gi1/0/40 | rj45 | 1000
sw-access-02 | Gi1/0/41 | rj45 | 1000
sw-access-02 | Gi1/0/42 | rj45 | 1000
sw-access-02 | Gi1/0/43 | rj45 | 1000
sw-access-02 | Gi1/0/44 | rj45 | 1000
sw-access-02 | Gi1/0/45 | rj45 | 1000
sw-access-02 | Gi1/0/46 | rj45 | 1000
sw-access-02 | Gi1/0/47 | rj45 | 1000
sw-access-02 | Gi1/0/48 | rj45 | 1000
sw-mgmt-01 | con0 | console
sw-mgmt-01 | Gi1/0/1 | rj45 | 1000
sw-mgmt-01 | Te1/1/1 | sfp | 10000
sw-mgmt-01 | psu1 | power
sw-mgmt-01 | Gi1/0/2 | rj45 | 1000
sw-mgmt-01 | Te1/1/2 | sfp | 10000
sw-mgmt-01 | Gi1/0/3 | rj45 | 1000
sw-mgmt-01 | Te1/1/3 | sfp | 10000
sw-mgmt-01 | Gi1/0/4 | rj45 | 1000
sw-mgmt-01 | Te1/1/4 | sfp | 10000
sw-mgmt-01 | Gi1/0/5 | rj45 | 1000
sw-mgmt-01 | Gi1/0/6 | rj45 | 1000
sw-mgmt-01 | Gi1/0/7 | rj45 | 1000
sw-mgmt-01 | Gi1/0/8 | rj45 | 1000
sw-mgmt-01 | Gi1/0/9 | rj45 | 1000
sw-mgmt-01 | Gi1/0/10 | rj45 | 1000
sw-mgmt-01 | Gi1/0/11 | rj45 | 1000
sw-mgmt-01 | Gi1/0/12 | rj45 | 1000
sw-mgmt-01 | Gi1/0/13 | rj45 | 1000
sw-mgmt-01 | Gi1/0/14 | rj45 | 1000
sw-mgmt-01 | Gi1/0/15 | rj45 | 1000
sw-mgmt-01 | Gi1/0/16 | rj45 | 1000
sw-mgmt-01 | Gi1/0/17 | rj45 | 1000
sw-mgmt-01 | Gi1/0/18 | rj45 | 1000
sw-mgmt-01 | Gi1/0/19 | rj45 | 1000
sw-mgmt-01 | Gi1/0/20 | rj45 | 1000
sw-mgmt-01 | Gi1/0/21 | rj45 | 1000
sw-mgmt-01 | Gi1/0/22 | rj45 | 1000
sw-mgmt-01 | Gi1/0/23 | rj45 | 1000
sw-mgmt-01 | Gi1/0/24 | rj45 | 1000
fw-edge-01 | con0 | console
fw-edge-01 | port1 | rj45 | 1000
fw-edge-01 | psu1 | power
fw-edge-01 | port2 | rj45 | 1000
fw-edge-01 | port3 | rj45 | 1000
fw-edge-01 | port4 | rj45 | 1000
fw-edge-01 | port5 | rj45 | 1000
fw-edge-01 | port6 | rj45 | 1000
fw-edge-01 | port7 | rj45 | 1000
fw-edge-01 | port8 | rj45 | 1000
rtr-wan-01 | Gi0/0/0/0 | rj45 | 1000
rtr-wan-01 | Te0/0/0/0 | sfp | 10000
rtr-wan-01 | con0 | console
rtr-wan-01 | Gi0/0/0/1 | rj45 | 1000
rtr-wan-01 | Te0/0/0/1 | sfp | 10000
rtr-wan-01 | psu1 | power
rtr-wan-01 | Gi0/0/0/2 | rj45 | 1000
rtr-wan-01 | Te0/0/0/2 | sfp | 10000
rtr-wan-01 | psu2 | power
rtr-wan-01 | Gi0/0/0/3 | rj45 | 1000
rtr-wan-01 | Te0/0/0/3 | sfp | 10000
kvm-01 | ip1 | rj45
kvm-01 | psu1 | power
con-srv-01 | port1 | console
con-srv-01 | eth1 | rj45
con-srv-01 | psu1 | power
con-srv-01 | port2 | console
con-srv-01 | port3 | console
con-srv-01 | port4 | console
con-srv-01 | port5 | console
con-srv-01 | port6 | console
con-srv-01 | port7 | console
con-srv-01 | port8 | console
con-srv-01 | port9 | console
con-srv-01 | port10 | console
con-srv-01 | port11 | console
con-srv-01 | port12 | console
con-srv-01 | port13 | console
con-srv-01 | port14 | console
con-srv-01 | port15 | console
con-srv-01 | port16 | console
srv-app-01 | eno1 | rj45 | 10000
srv-app-01 | idrac1 | rj45
srv-app-01 | serial1 | console
srv-app-01 | psu1 | power
srv-app-01 | eno2 | rj45 | 10000
srv-app-01 | psu2 | power
srv-app-02 | eno1 | rj45 | 10000
srv-app-02 | idrac1 | rj45
srv-app-02 | serial1 | console
srv-app-02 | psu1 | power
srv-app-02 | eno2 | rj45 | 10000
srv-app-02 | psu2 | power
edge-sdwan-a | ge0 | rj45
edge-sdwan-a | ge1 | rj45
edge-sdwan-a | psu1 | power
edge-sdwan-a | ge2 | rj45
edge-sdwan-a | ge3 | rj45
edge-sdwan-b | ge0 | rj45
edge-sdwan-b | ge1 | rj45
edge-sdwan-b | psu1 | power
edge-sdwan-b | ge2 | rj45
edge-sdwan-b | ge3 | rj45
ups-b1 | out1 | power
ups-b1 | net1 | rj45
ups-b1 | out2 | power
ups-b1 | out3 | power
ups-b1 | out4 | power
pdu-c1 | o1 | power
pdu-c1 | in1 | power
pdu-c1 | net1 | rj45
pdu-c1 | o2 | power
pdu-c1 | o3 | power
pdu-c1 | o4 | power
pdu-c1 | o5 | power
pdu-c1 | o6 | power
pdu-c1 | o7 | power
pdu-c1 | o8 | power
pdu-c2 | o1 | power
pdu-c2 | in1 | power
pdu-c2 | net1 | rj45
pdu-c2 | o2 | power
pdu-c2 | o3 | power
pdu-c2 | o4 | power
pdu-c2 | o5 | power
pdu-c2 | o6 | power
pdu-c2 | o7 | power
pdu-c2 | o8 | power
srv-compute-01 | eno1 | rj45 | 10000 |  | 10.200.0.31
srv-compute-01 | idrac1 | rj45
srv-compute-01 | serial1 | console
srv-compute-01 | psu1 | power
srv-compute-01 | eno2 | rj45 | 10000
srv-compute-01 | psu2 | power
srv-compute-02 | eno1 | rj45 | 10000
srv-compute-02 | idrac1 | rj45
srv-compute-02 | serial1 | console
srv-compute-02 | psu1 | power
srv-compute-02 | eno2 | rj45 | 10000
srv-compute-02 | psu2 | power
srv-compute-03 | eno1 | rj45 | 10000
srv-compute-03 | idrac1 | rj45
srv-compute-03 | serial1 | console
srv-compute-03 | psu1 | power
srv-compute-03 | eno2 | rj45 | 10000
srv-compute-03 | psu2 | power
srv-compute-04 | eno1 | rj45 | 10000
srv-compute-04 | idrac1 | rj45
srv-compute-04 | serial1 | console
srv-compute-04 | psu1 | power
srv-compute-04 | eno2 | rj45 | 10000
srv-compute-04 | psu2 | power
srv-compute-05 | eno1 | rj45 | 10000
srv-compute-05 | idrac1 | rj45
srv-compute-05 | serial1 | console
srv-compute-05 | psu1 | power
srv-compute-05 | eno2 | rj45 | 10000
srv-compute-05 | psu2 | power
srv-compute-06 | eno1 | rj45 | 10000
srv-compute-06 | idrac1 | rj45
srv-compute-06 | serial1 | console
srv-compute-06 | psu1 | power
srv-compute-06 | eno2 | rj45 | 10000
srv-compute-06 | psu2 | power
srv-compute-07 | eno1 | rj45 | 10000
srv-compute-07 | idrac1 | rj45
srv-compute-07 | serial1 | console
srv-compute-07 | psu1 | power
srv-compute-07 | eno2 | rj45 | 10000
srv-compute-07 | psu2 | power
srv-compute-08 | eno1 | rj45 | 10000
srv-compute-08 | idrac1 | rj45
srv-compute-08 | serial1 | console
srv-compute-08 | psu1 | power
srv-compute-08 | eno2 | rj45 | 10000
srv-compute-08 | psu2 | power
pp-c-24 | p1 | patch
pp-c-24 | b1 | patch
pp-c-24 | p2 | patch
pp-c-24 | b2 | patch
pp-c-24 | p3 | patch
pp-c-24 | b3 | patch
pp-c-24 | p4 | patch
pp-c-24 | b4 | patch
pp-c-24 | p5 | patch
pp-c-24 | b5 | patch
pp-c-24 | p6 | patch
pp-c-24 | b6 | patch
pp-c-24 | p7 | patch
pp-c-24 | b7 | patch
pp-c-24 | p8 | patch
pp-c-24 | b8 | patch
pp-c-24 | p9 | patch
pp-c-24 | b9 | patch
pp-c-24 | p10 | patch
pp-c-24 | b10 | patch
pp-c-24 | p11 | patch
pp-c-24 | b11 | patch
pp-c-24 | p12 | patch
pp-c-24 | b12 | patch
pp-c-24 | p13 | patch
pp-c-24 | b13 | patch
pp-c-24 | p14 | patch
pp-c-24 | b14 | patch
pp-c-24 | p15 | patch
pp-c-24 | b15 | patch
pp-c-24 | p16 | patch
pp-c-24 | b16 | patch
pp-c-24 | p17 | patch
pp-c-24 | b17 | patch
pp-c-24 | p18 | patch
pp-c-24 | b18 | patch
pp-c-24 | p19 | patch
pp-c-24 | b19 | patch
pp-c-24 | p20 | patch
pp-c-24 | b20 | patch
pp-c-24 | p21 | patch
pp-c-24 | b21 | patch
pp-c-24 | p22 | patch
pp-c-24 | b22 | patch
pp-c-24 | p23 | patch
pp-c-24 | b23 | patch
pp-c-24 | p24 | patch
pp-c-24 | b24 | patch
tor-b-01 | con0 | console
tor-b-01 | Gi1/0/1 | rj45 | 1000
tor-b-01 | Te1/1/1 | sfp28 | 25000
tor-b-01 | psu1 | power
tor-b-01 | Gi1/0/2 | rj45 | 1000
tor-b-01 | Te1/1/2 | sfp28 | 25000
tor-b-01 | psu2 | power
tor-b-01 | Gi1/0/3 | rj45 | 1000
tor-b-01 | Te1/1/3 | sfp28 | 25000
tor-b-01 | Gi1/0/4 | rj45 | 1000
tor-b-01 | Te1/1/4 | sfp28 | 25000
tor-b-01 | Gi1/0/5 | rj45 | 1000
tor-b-01 | Gi1/0/6 | rj45 | 1000
tor-b-01 | Gi1/0/7 | rj45 | 1000
tor-b-01 | Gi1/0/8 | rj45 | 1000
tor-b-01 | Gi1/0/9 | rj45 | 1000
tor-b-01 | Gi1/0/10 | rj45 | 1000
tor-b-01 | Gi1/0/11 | rj45 | 1000
tor-b-01 | Gi1/0/12 | rj45 | 1000
tor-b-01 | Gi1/0/13 | rj45 | 1000
tor-b-01 | Gi1/0/14 | rj45 | 1000
tor-b-01 | Gi1/0/15 | rj45 | 1000
tor-b-01 | Gi1/0/16 | rj45 | 1000
tor-b-01 | Gi1/0/17 | rj45 | 1000
tor-b-01 | Gi1/0/18 | rj45 | 1000
tor-b-01 | Gi1/0/19 | rj45 | 1000
tor-b-01 | Gi1/0/20 | rj45 | 1000
tor-b-01 | Gi1/0/21 | rj45 | 1000
tor-b-01 | Gi1/0/22 | rj45 | 1000
tor-b-01 | Gi1/0/23 | rj45 | 1000
tor-b-01 | Gi1/0/24 | rj45 | 1000
tor-b-01 | Gi1/0/25 | rj45 | 1000
tor-b-01 | Gi1/0/26 | rj45 | 1000
tor-b-01 | Gi1/0/27 | rj45 | 1000
tor-b-01 | Gi1/0/28 | rj45 | 1000
tor-b-01 | Gi1/0/29 | rj45 | 1000
tor-b-01 | Gi1/0/30 | rj45 | 1000
tor-b-01 | Gi1/0/31 | rj45 | 1000
tor-b-01 | Gi1/0/32 | rj45 | 1000
tor-b-01 | Gi1/0/33 | rj45 | 1000
tor-b-01 | Gi1/0/34 | rj45 | 1000
tor-b-01 | Gi1/0/35 | rj45 | 1000
tor-b-01 | Gi1/0/36 | rj45 | 1000
tor-b-01 | Gi1/0/37 | rj45 | 1000
tor-b-01 | Gi1/0/38 | rj45 | 1000
tor-b-01 | Gi1/0/39 | rj45 | 1000
tor-b-01 | Gi1/0/40 | rj45 | 1000
tor-b-01 | Gi1/0/41 | rj45 | 1000
tor-b-01 | Gi1/0/42 | rj45 | 1000
tor-b-01 | Gi1/0/43 | rj45 | 1000
tor-b-01 | Gi1/0/44 | rj45 | 1000
tor-b-01 | Gi1/0/45 | rj45 | 1000
tor-b-01 | Gi1/0/46 | rj45 | 1000
tor-b-01 | Gi1/0/47 | rj45 | 1000
tor-b-01 | Gi1/0/48 | rj45 | 1000
ups-c1 | out1 | power
ups-c1 | net1 | rj45
ups-c1 | out2 | power
ups-c1 | out3 | power
ups-c1 | out4 | power
pdu-d1 | o1 | power
pdu-d1 | in1 | power
pdu-d1 | net1 | rj45
pdu-d1 | o2 | power
pdu-d1 | o3 | power
pdu-d1 | o4 | power
pdu-d1 | o5 | power
pdu-d1 | o6 | power
pdu-d1 | o7 | power
pdu-d1 | o8 | power
pdu-d2 | o1 | power
pdu-d2 | in1 | power
pdu-d2 | net1 | rj45
pdu-d2 | o2 | power
pdu-d2 | o3 | power
pdu-d2 | o4 | power
pdu-d2 | o5 | power
pdu-d2 | o6 | power
pdu-d2 | o7 | power
pdu-d2 | o8 | power
con-srv-02 | port1 | console
con-srv-02 | eth1 | rj45
con-srv-02 | psu1 | power
con-srv-02 | port2 | console
con-srv-02 | port3 | console
con-srv-02 | port4 | console
con-srv-02 | port5 | console
con-srv-02 | port6 | console
con-srv-02 | port7 | console
con-srv-02 | port8 | console
con-srv-02 | port9 | console
con-srv-02 | port10 | console
con-srv-02 | port11 | console
con-srv-02 | port12 | console
con-srv-02 | port13 | console
con-srv-02 | port14 | console
con-srv-02 | port15 | console
con-srv-02 | port16 | console
mda-01 | lc1 | patch
mda-01 | lb1 | patch
mda-01 | lc2 | patch
mda-01 | lb2 | patch
mda-01 | lc3 | patch
mda-01 | lb3 | patch
mda-01 | lc4 | patch
mda-01 | lb4 | patch
mda-01 | lc5 | patch
mda-01 | lb5 | patch
mda-01 | lc6 | patch
mda-01 | lb6 | patch
mda-01 | lc7 | patch
mda-01 | lb7 | patch
mda-01 | lc8 | patch
mda-01 | lb8 | patch
mda-01 | lc9 | patch
mda-01 | lb9 | patch
mda-01 | lc10 | patch
mda-01 | lb10 | patch
mda-01 | lc11 | patch
mda-01 | lb11 | patch
mda-01 | lc12 | patch
mda-01 | lb12 | patch
mda-01 | lc13 | patch
mda-01 | lb13 | patch
mda-01 | lc14 | patch
mda-01 | lb14 | patch
mda-01 | lc15 | patch
mda-01 | lb15 | patch
mda-01 | lc16 | patch
mda-01 | lb16 | patch
mda-01 | lc17 | patch
mda-01 | lb17 | patch
mda-01 | lc18 | patch
mda-01 | lb18 | patch
mda-01 | lc19 | patch
mda-01 | lb19 | patch
mda-01 | lc20 | patch
mda-01 | lb20 | patch
mda-01 | lc21 | patch
mda-01 | lb21 | patch
mda-01 | lc22 | patch
mda-01 | lb22 | patch
mda-01 | lc23 | patch
mda-01 | lb23 | patch
mda-01 | lc24 | patch
mda-01 | lb24 | patch
spine-01 | mgmt0 | rj45
spine-01 | con0 | console
spine-01 | Eth1/1/1 | sfp28 | 25000
spine-01 | psu1 | power
spine-01 | Eth1/1/2 | sfp28 | 25000
spine-01 | psu2 | power
spine-01 | Eth1/1/3 | sfp28 | 25000
spine-01 | Eth1/1/4 | sfp28 | 25000
spine-01 | Eth1/1/5 | sfp28 | 25000
spine-01 | Eth1/1/6 | sfp28 | 25000
spine-01 | Eth1/1/7 | sfp28 | 25000
spine-01 | Eth1/1/8 | sfp28 | 25000
spine-01 | Eth1/1/9 | sfp28 | 25000
spine-01 | Eth1/1/10 | sfp28 | 25000
spine-01 | Eth1/1/11 | sfp28 | 25000
spine-01 | Eth1/1/12 | sfp28 | 25000
spine-01 | Eth1/1/13 | sfp28 | 25000
spine-01 | Eth1/1/14 | sfp28 | 25000
spine-01 | Eth1/1/15 | sfp28 | 25000
spine-01 | Eth1/1/16 | sfp28 | 25000
spine-01 | Eth1/1/17 | sfp28 | 25000
spine-01 | Eth1/1/18 | sfp28 | 25000
spine-01 | Eth1/1/19 | sfp28 | 25000
spine-01 | Eth1/1/20 | sfp28 | 25000
spine-01 | Eth1/1/21 | sfp28 | 25000
spine-01 | Eth1/1/22 | sfp28 | 25000
spine-01 | Eth1/1/23 | sfp28 | 25000
spine-01 | Eth1/1/24 | sfp28 | 25000
spine-01 | Eth1/1/25 | sfp28 | 25000
spine-01 | Eth1/1/26 | sfp28 | 25000
spine-01 | Eth1/1/27 | sfp28 | 25000
spine-01 | Eth1/1/28 | sfp28 | 25000
spine-01 | Eth1/1/29 | sfp28 | 25000
spine-01 | Eth1/1/30 | sfp28 | 25000
spine-01 | Eth1/1/31 | sfp28 | 25000
spine-01 | Eth1/1/32 | sfp28 | 25000
spine-01 | Eth1/1/33 | sfp28 | 25000
spine-01 | Eth1/1/34 | sfp28 | 25000
spine-01 | Eth1/1/35 | sfp28 | 25000
spine-01 | Eth1/1/36 | sfp28 | 25000
spine-01 | Eth1/1/37 | sfp28 | 25000
spine-01 | Eth1/1/38 | sfp28 | 25000
spine-01 | Eth1/1/39 | sfp28 | 25000
spine-01 | Eth1/1/40 | sfp28 | 25000
spine-01 | Eth1/1/41 | sfp28 | 25000
spine-01 | Eth1/1/42 | sfp28 | 25000
spine-01 | Eth1/1/43 | sfp28 | 25000
spine-01 | Eth1/1/44 | sfp28 | 25000
spine-01 | Eth1/1/45 | sfp28 | 25000
spine-01 | Eth1/1/46 | sfp28 | 25000
spine-01 | Eth1/1/47 | sfp28 | 25000
spine-01 | Eth1/1/48 | sfp28 | 25000
spine-01 | Eth1/1/49 | qsfp | 100000
spine-01 | Eth1/1/50 | qsfp | 100000
spine-01 | Eth1/1/51 | qsfp | 100000
spine-01 | Eth1/1/52 | qsfp | 100000
spine-02 | mgmt0 | rj45
spine-02 | con0 | console
spine-02 | Eth1/1/1 | sfp28 | 25000
spine-02 | psu1 | power
spine-02 | Eth1/1/2 | sfp28 | 25000
spine-02 | psu2 | power
spine-02 | Eth1/1/3 | sfp28 | 25000
spine-02 | Eth1/1/4 | sfp28 | 25000
spine-02 | Eth1/1/5 | sfp28 | 25000
spine-02 | Eth1/1/6 | sfp28 | 25000
spine-02 | Eth1/1/7 | sfp28 | 25000
spine-02 | Eth1/1/8 | sfp28 | 25000
spine-02 | Eth1/1/9 | sfp28 | 25000
spine-02 | Eth1/1/10 | sfp28 | 25000
spine-02 | Eth1/1/11 | sfp28 | 25000
spine-02 | Eth1/1/12 | sfp28 | 25000
spine-02 | Eth1/1/13 | sfp28 | 25000
spine-02 | Eth1/1/14 | sfp28 | 25000
spine-02 | Eth1/1/15 | sfp28 | 25000
spine-02 | Eth1/1/16 | sfp28 | 25000
spine-02 | Eth1/1/17 | sfp28 | 25000
spine-02 | Eth1/1/18 | sfp28 | 25000
spine-02 | Eth1/1/19 | sfp28 | 25000
spine-02 | Eth1/1/20 | sfp28 | 25000
spine-02 | Eth1/1/21 | sfp28 | 25000
spine-02 | Eth1/1/22 | sfp28 | 25000
spine-02 | Eth1/1/23 | sfp28 | 25000
spine-02 | Eth1/1/24 | sfp28 | 25000
spine-02 | Eth1/1/25 | sfp28 | 25000
spine-02 | Eth1/1/26 | sfp28 | 25000
spine-02 | Eth1/1/27 | sfp28 | 25000
spine-02 | Eth1/1/28 | sfp28 | 25000
spine-02 | Eth1/1/29 | sfp28 | 25000
spine-02 | Eth1/1/30 | sfp28 | 25000
spine-02 | Eth1/1/31 | sfp28 | 25000
spine-02 | Eth1/1/32 | sfp28 | 25000
spine-02 | Eth1/1/33 | sfp28 | 25000
spine-02 | Eth1/1/34 | sfp28 | 25000
spine-02 | Eth1/1/35 | sfp28 | 25000
spine-02 | Eth1/1/36 | sfp28 | 25000
spine-02 | Eth1/1/37 | sfp28 | 25000
spine-02 | Eth1/1/38 | sfp28 | 25000
spine-02 | Eth1/1/39 | sfp28 | 25000
spine-02 | Eth1/1/40 | sfp28 | 25000
spine-02 | Eth1/1/41 | sfp28 | 25000
spine-02 | Eth1/1/42 | sfp28 | 25000
spine-02 | Eth1/1/43 | sfp28 | 25000
spine-02 | Eth1/1/44 | sfp28 | 25000
spine-02 | Eth1/1/45 | sfp28 | 25000
spine-02 | Eth1/1/46 | sfp28 | 25000
spine-02 | Eth1/1/47 | sfp28 | 25000
spine-02 | Eth1/1/48 | sfp28 | 25000
spine-02 | Eth1/1/49 | qsfp | 100000
spine-02 | Eth1/1/50 | qsfp | 100000
spine-02 | Eth1/1/51 | qsfp | 100000
spine-02 | Eth1/1/52 | qsfp | 100000

## cables
a_device | a_interface | b_device | b_interface | kind | color | label | length_m
srv-esxi-01 | eno2 | pp-b-24 | p1 | cat6a | yellow |  | 1
srv-esxi-02 | eno2 | pp-b-24 | p2 | cat6a | yellow |  | 1
srv-backup-01 | eno1 | pp-a-24 | p3 | cat6 | blue |  | 1.5
srv-app-01 | eno1 | pp-a-24 | p4 | cat6 | blue |  | 1
srv-app-02 | eno1 | pp-a-24 | p5 | cat6 | blue |  | 1
srv-app-02 | eno2 | pp-b-24 | p5 | cat6a | yellow |  | 1
edge-sdwan-a | ge1 | pp-a-24 | p7 | cat6 | green |  | 0.5
kvm-01 | ip1 | pp-a-24 | p9 | cat6 | blue |  | 1.5
con-srv-01 | eth1 | pp-a-24 | p10 | cat6 | blue |  | 1
pp-a-24 | b1 | sw-access-01 | Gi1/0/1 | cat6 | blue |  | 0.5
pp-a-24 | b3 | sw-access-01 | Gi1/0/3 | cat6 | blue |  | 0.5
pp-a-24 | b4 | sw-access-01 | Gi1/0/4 | cat6 | blue |  | 0.5
pp-a-24 | b6 | sw-access-01 | Gi1/0/6 | cat6 | blue |  | 0.5
pp-a-24 | b8 | sw-access-01 | Gi1/0/8 | cat6 | blue |  | 0.5
pp-a-24 | b9 | sw-access-01 | Gi1/0/9 | cat6 | blue |  | 0.5
pp-a-24 | b11 | sw-access-01 | Gi1/0/11 | cat6 | blue |  | 0.5
pp-b-24 | b2 | sw-access-02 | Gi1/0/2 | cat6a | yellow |  | 0.5
pp-b-24 | b3 | sw-access-02 | Gi1/0/3 | cat6a | yellow |  | 0.5
pp-b-24 | b5 | sw-access-02 | Gi1/0/5 | cat6a | yellow |  | 0.5
sw-access-02 | Te1/1/1 | fw-edge-01 | port4 | dac | red | access-B uplink | 0.5
fw-edge-01 | port1 | rtr-wan-01 | Gi0/0/0/0 | cat6a | orange | WAN handoff | 0.5
san-01 | iscsi1 | sw-access-01 | Te1/1/2 | fiber_mm | aqua |  | 1
srv-esxi-01 | idrac1 | sw-mgmt-01 | Gi1/0/1 | cat5e | grey |  | 1
srv-esxi-02 | idrac1 | sw-mgmt-01 | Gi1/0/2 | cat5e | grey |  | 1
srv-app-01 | idrac1 | sw-mgmt-01 | Gi1/0/4 | cat5e | grey |  | 1
san-01 | mgmt1 | sw-mgmt-01 | Gi1/0/6 | cat5e | grey |  | 1
pdu-a | net1 | sw-mgmt-01 | Gi1/0/7 | cat5e | grey |  | 1.5
ups-01 | net1 | sw-mgmt-01 | Gi1/0/9 | cat5e | grey |  | 2
sw-access-02 | con0 | con-srv-01 | port2 | console | purple |  | 0.5
sw-mgmt-01 | con0 | con-srv-01 | port3 | console | purple |  | 0.5
rtr-wan-01 | con0 | con-srv-01 | port5 | console | purple |  | 0.5
srv-esxi-02 | serial1 | con-srv-01 | port7 | console | purple |  | 1
pdu-a | in1 | ups-01 | out1 | power | black | A feed | 0.5
srv-esxi-01 | psu1 | pdu-a | o1 | power | red |  | 1
srv-esxi-02 | psu1 | pdu-a | o2 | power | red |  | 1
srv-esxi-02 | psu2 | pdu-b | o2 | power | blue |  | 1
srv-backup-01 | psu2 | pdu-b | o3 | power | blue |  | 1
srv-app-01 | psu2 | pdu-b | o4 | power | blue |  | 1
srv-app-02 | psu1 | pdu-a | o5 | power | red |  | 1
san-01 | psu1 | pdu-a | o6 | power | red |  | 1
sw-access-01 | psu1 | pdu-a | o7 | power | red |  | 1
sw-access-01 | psu2 | pdu-b | o7 | power | blue |  | 1
sw-access-02 | psu2 | pdu-b | o8 | power | blue |  | 1
rtr-wan-01 | psu1 | ups-01 | out4 | power | red |  | 1.5
srv-compute-01 | eno1 | pp-c-24 | p1 | cat6 | blue |  | 1
srv-compute-03 | eno1 | pp-c-24 | p3 | cat6 | blue |  | 1
srv-compute-05 | eno1 | pp-c-24 | p5 | cat6 | blue |  | 1
srv-compute-06 | eno1 | pp-c-24 | p6 | cat6 | blue |  | 1
srv-compute-08 | eno1 | pp-c-24 | p8 | cat6 | blue |  | 1
srv-compute-02 | idrac1 | pp-c-24 | p10 | cat6 | grey |  | 1
srv-compute-03 | idrac1 | pp-c-24 | p11 | cat6 | grey |  | 1
srv-compute-05 | idrac1 | pp-c-24 | p13 | cat6 | grey |  | 1
srv-compute-07 | idrac1 | pp-c-24 | p15 | cat6 | grey |  | 1
srv-compute-08 | idrac1 | pp-c-24 | p16 | cat6 | grey |  | 1
pp-c-24 | b2 | tor-b-01 | Gi1/0/2 | cat6 | blue |  | 0.5
pp-c-24 | b4 | tor-b-01 | Gi1/0/4 | cat6 | blue |  | 0.5
pp-c-24 | b5 | tor-b-01 | Gi1/0/5 | cat6 | blue |  | 0.5
pp-c-24 | b7 | tor-b-01 | Gi1/0/7 | cat6 | blue |  | 0.5
pp-c-24 | b9 | tor-b-01 | Gi1/0/9 | cat6 | grey |  | 0.5
pp-c-24 | b10 | tor-b-01 | Gi1/0/10 | cat6 | grey |  | 0.5
pp-c-24 | b12 | tor-b-01 | Gi1/0/12 | cat6 | grey |  | 0.5
pp-c-24 | b14 | tor-b-01 | Gi1/0/14 | cat6 | grey |  | 0.5
pp-c-24 | b15 | tor-b-01 | Gi1/0/15 | cat6 | grey |  | 0.5
pdu-c1 | in1 | ups-b1 | out1 | power | black | C feed | 0.5
srv-compute-01 | psu1 | pdu-c1 | o1 | power | red |  | 1
srv-compute-02 | psu1 | pdu-c1 | o2 | power | red |  | 1
srv-compute-04 | psu1 | pdu-c1 | o4 | power | red |  | 1
srv-compute-06 | psu1 | pdu-c1 | o6 | power | red |  | 1
srv-compute-07 | psu1 | pdu-c1 | o7 | power | red |  | 1
srv-compute-01 | psu2 | pdu-c2 | o1 | power | blue |  | 1
srv-compute-03 | psu2 | pdu-c2 | o3 | power | blue |  | 1
srv-compute-04 | psu2 | pdu-c2 | o4 | power | blue |  | 1
srv-compute-06 | psu2 | pdu-c2 | o6 | power | blue |  | 1
srv-compute-08 | psu2 | pdu-c2 | o8 | power | blue |  | 1
tor-b-01 | psu1 | ups-b1 | out3 | power | red |  | 1
con-srv-02 | eth1 | spine-01 | mgmt0 | cat6 | grey |  | 0.5
spine-02 | con0 | con-srv-02 | port3 | console | purple |  | 0.5
pdu-d1 | in1 | ups-c1 | out1 | power | black | E feed | 0.5
spine-01 | psu1 | pdu-d1 | o1 | power | red |  | 1
spine-02 | psu1 | pdu-d1 | o2 | power | red |  | 1
spine-02 | psu2 | pdu-d2 | o2 | power | blue |  | 1
tor-b-01 | Te1/1/1 | mda-01 | lc1 | fiber_sm | yellow | XR-B-01 | 15
tor-b-01 | Te1/1/2 | mda-01 | lc2 | fiber_sm | yellow | XR-B-02 | 15
mda-01 | lb2 | spine-02 | Eth1/1/1 | fiber_sm | yellow | XR-B-02 | 1
mda-01 | lb3 | spine-01 | Eth1/1/2 | fiber_sm | yellow | XR-A-01 | 1
mda-01 | lb4 | spine-02 | Eth1/1/2 | fiber_sm | yellow | XR-A-02 | 1
tor-b-01 | con0 | con-srv-02 | port1 | console | purple |  | 10
srv-esxi-01 | eno1 | pp-a-24 | p1 | cat6 | blue |  | 1
srv-esxi-02 | eno1 | pp-a-24 | p2 | cat6 | blue |  | 1
srv-backup-01 | eno2 | pp-b-24 | p3 | cat6a | yellow |  | 1.5
srv-app-01 | eno2 | pp-b-24 | p4 | cat6a | yellow |  | 1
san-01 | mgmt0 | pp-a-24 | p6 | cat6 | blue |  | 1
edge-sdwan-b | ge1 | pp-a-24 | p8 | cat6 | green |  | 0.5
fw-edge-01 | port2 | pp-a-24 | p11 | cat6a | red | fw inside leg | 1
pp-a-24 | b2 | sw-access-01 | Gi1/0/2 | cat6 | blue |  | 0.5
pp-a-24 | b5 | sw-access-01 | Gi1/0/5 | cat6 | blue |  | 0.5
pp-a-24 | b7 | sw-access-01 | Gi1/0/7 | cat6 | blue |  | 0.5
pp-a-24 | b10 | sw-access-01 | Gi1/0/10 | cat6 | blue |  | 0.5
pp-b-24 | b1 | sw-access-02 | Gi1/0/1 | cat6a | yellow |  | 0.5
pp-b-24 | b4 | sw-access-02 | Gi1/0/4 | cat6a | yellow |  | 0.5
sw-access-01 | Te1/1/1 | fw-edge-01 | port3 | dac | red | access-A uplink | 0.5
sw-mgmt-01 | Te1/1/1 | sw-access-01 | Te1/1/4 | dac | white | OOB uplink | 0.5
san-01 | iscsi2 | sw-access-02 | Te1/1/2 | fiber_mm | aqua |  | 1
srv-backup-01 | idrac1 | sw-mgmt-01 | Gi1/0/3 | cat5e | grey |  | 1
srv-app-02 | idrac1 | sw-mgmt-01 | Gi1/0/5 | cat5e | grey |  | 1
pdu-b | net1 | sw-mgmt-01 | Gi1/0/8 | cat5e | grey |  | 1.5
sw-access-01 | con0 | con-srv-01 | port1 | console | purple |  | 0.5
fw-edge-01 | con0 | con-srv-01 | port4 | console | purple |  | 0.5
srv-esxi-01 | serial1 | con-srv-01 | port6 | console | purple |  | 1
pdu-b | in1 | ups-01 | out2 | power | black | B feed | 0.5
srv-esxi-01 | psu2 | pdu-b | o1 | power | blue |  | 1
srv-backup-01 | psu1 | pdu-a | o3 | power | red |  | 1
srv-app-01 | psu1 | pdu-a | o4 | power | red |  | 1
srv-app-02 | psu2 | pdu-b | o5 | power | blue |  | 1
san-01 | psu2 | pdu-b | o6 | power | blue |  | 1
sw-access-02 | psu1 | pdu-a | o8 | power | red |  | 1
fw-edge-01 | psu1 | ups-01 | out3 | power | red |  | 1.5
srv-compute-02 | eno1 | pp-c-24 | p2 | cat6 | blue |  | 1
srv-compute-04 | eno1 | pp-c-24 | p4 | cat6 | blue |  | 1
srv-compute-07 | eno1 | pp-c-24 | p7 | cat6 | blue |  | 1
srv-compute-01 | idrac1 | pp-c-24 | p9 | cat6 | grey |  | 1
srv-compute-04 | idrac1 | pp-c-24 | p12 | cat6 | grey |  | 1
srv-compute-06 | idrac1 | pp-c-24 | p14 | cat6 | grey |  | 1
pp-c-24 | b1 | tor-b-01 | Gi1/0/1 | cat6 | blue |  | 0.5
pp-c-24 | b3 | tor-b-01 | Gi1/0/3 | cat6 | blue |  | 0.5
pp-c-24 | b6 | tor-b-01 | Gi1/0/6 | cat6 | blue |  | 0.5
pp-c-24 | b8 | tor-b-01 | Gi1/0/8 | cat6 | blue |  | 0.5
pp-c-24 | b11 | tor-b-01 | Gi1/0/11 | cat6 | grey |  | 0.5
pp-c-24 | b13 | tor-b-01 | Gi1/0/13 | cat6 | grey |  | 0.5
pp-c-24 | b16 | tor-b-01 | Gi1/0/16 | cat6 | grey |  | 0.5
pdu-c2 | in1 | ups-b1 | out2 | power | black | D feed | 0.5
srv-compute-03 | psu1 | pdu-c1 | o3 | power | red |  | 1
srv-compute-05 | psu1 | pdu-c1 | o5 | power | red |  | 1
srv-compute-08 | psu1 | pdu-c1 | o8 | power | red |  | 1
srv-compute-02 | psu2 | pdu-c2 | o2 | power | blue |  | 1
srv-compute-05 | psu2 | pdu-c2 | o5 | power | blue |  | 1
srv-compute-07 | psu2 | pdu-c2 | o7 | power | blue |  | 1
tor-b-01 | psu2 | ups-b1 | out4 | power | blue |  | 1
spine-01 | con0 | con-srv-02 | port2 | console | purple |  | 0.5
pdu-d2 | in1 | ups-c1 | out2 | power | black | F feed | 0.5
spine-01 | psu2 | pdu-d2 | o1 | power | blue |  | 1
con-srv-02 | psu1 | pdu-d1 | o3 | power | red |  | 0.5
mda-01 | lb1 | spine-01 | Eth1/1/1 | fiber_sm | yellow | XR-B-01 | 1
sw-access-01 | Te1/1/3 | mda-01 | lc3 | fiber_sm | yellow | XR-A-01 | 8
sw-access-02 | Te1/1/3 | mda-01 | lc4 | fiber_sm | yellow | XR-A-02 | 8